**Coriolis Mass Flow Meters Specification Questionnaire**

|  |  |
| --- | --- |
| **Company** |  |
| **Contact** |  |
| **E-mail** |  |
| **Tel** |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Operating conditions | 1 | Name of flowmeter | Coriolis Mass Flow Meters | |
| 2 | Pipe specification |  | |
| 3 | Fluid Name |  | |
| 4 | Viscosity |  | |
| 5 | Normal Temp./ Design Temp. |  | |
| 6 | Working Pressure |  | |
| 7 | Max. Flow |  | |
| 8 | Normal Flow |  | |
| 9 | Min. Flow |  | |
| 10 | Density Range |  | |
| 11 | Grade of Accuracy |  | |
| 12 | Meter Tube/Lining Mat. |  | |
| 13 | Enclosure Mat. | SS304 | |
| 14 | Flange Standard |  | |
| 15 | Connection Size/Rating |  |  |
| 16 | Flange Mat. / Sealing Surface | SS316L |  |
| 17 | Enclosure Protection | IP66/IP67 | |
| 18 | Explosion Proof | Exib lICT1~T6 Gb | |
| Transmitter | 19 | Transmitter type | BPM-B | |
| 20 | Function | OLED display; showing instantaneous flow and cumulative flow, density and temperature on site | |
| 21 | Mount Type |  | |
| 22 | Enclosure Protection | IP66/IP67 | |
| 23 | Explosion Proof | Ex d [ib] 1IC T6 Gb | |
| 25 | Power Supply | 24VDC or 220VAC | |
| 26 | Output Signal | 4~20mA; Pulse | |
| 27 | Communication Mode | RS485 | |

**Note:**

**1.Please specify the requirements for the label.**

**2. Please specify the requirements for the transmitter interface.**

**3.Please note here if there are any other requirements**